(Anticoagulant)

•	Is a substance that prevents blood from coagulation or clotting.

•	The	most	common	anticoagulants used in hematology are:

1.	EDTA: Ethylene Diamine Tetra acetic acid

2.	Sodium citrate

3.	Heparin

- EDTA and sodium citrate prevent coagulation by removing calcium

- Heparin acts by forming compiler with plasma anti- thrombin, which inhibits thrombin and other stages of clotting factor activation.

1)	EDTA:

•	Its used in a concentration of 1 to 2 mg/ml of blood

•	It may be used for both hematology and chemistry tests, and is the preferred anticoagulant for blood cell counts (CBC), ABO Blood grouping.

2)	Sodium citrate:

•	The ratio is one part of 3.8% aqueous solution to nine parts of whole blood.

•	Its used for blood coagulation and platelet function studies (PT &PTT) and can be used for Erythrocyte sedimentation rate (ESR).

3)      Heparin

•	Its concentration is 0.1 to 0.2 mg/ml of blood.

•	Its good for prevention of hemolysis but it is not satisfactory for leukocyte or platelet counts because of cell clumping.

| Stopper color | Additive | Notes |
| --- | --- | --- |
| Lavender tube (purple) | EDTA | • Collection of whole blood ( binds calcium) |
| Green | Sodium or lithium heparin | • Inhibits thrombin activation. •chemistry studies |
| Gray | •fluoride & potassium oxalate: inhibits enolase (phosphopyrovate dehydrogenase) •Sodium iodoacetate: inhibits glocose-3-phosphate dehydrogenase | • For glucose determination in chemistry (stabilize glucose in plasma) |
| light blue | Sodium citrate | •Coagulation studies (bind calcium) (PT &PTT) (ESR). |
| Yelwe | Acid citrate dextrose (ACD) | •For use in blood bank studies, HLA phenotyping, DNA and paternity testing (preserves red cells) |
| Red | No additive | •Used for blood bank, some chemistries. •Collection of serum |

Blood Bag

Blood Containers

• Blood must be collected into an FDA-approved container that is pyrogen-free and sterile and contains sufficient anticoagulant for the quantity of blood to be collected.

• The	container	label	must	state	the	type	and	amou	of anticoagulant and the approximate amount of blood collected.

- Blood bags may be supplied in packages containing more than one bag. The manufacturer’s directions should be followed for the length of time unused bags may be stored in packages that have been opened.

Blood Collection

•	Whole blood is collected in clear plastic bags that contain different mixtures of anticoagulants:

1.	Citrate: chelate calcium, preventing coagulation

2.	Phosphate: prevents pH from dropping

3.	Dextrose: provides nutrients to RBCs during storage

Anticoagulants

•	Anticoagulants:

–	CPD

•	Citrate, Phosphate, and Dextrose

•	21 day shelf life (at 1-6°C)

–	CP2D

•	Citrate, Phosphate, and 2Xdextrose

•	21 day shelf life (at 1-6°C)

–	CPDA-1

•	Adenine added

•	35 day shelf life

	Additive Solutions prolong red cell survival for 42 days