## Slide 1
الوقاية من الاشعاع
Radiation Protection
AL-Mustaqbal University College
Department of Medical Physics
The fourth Stage
كلية المستقبل الجامعة
المرحلة الرابعة
قسم الفيزياء الطبية
LECTURE TEN :
Asst. prof . Dr Forat Hamzah Dr. Ameen Alwan
Dose limits
Medical Imaging Systems
حدود الجرعات

## Slide 2
Dose limits
LECTURE TEN
Equivalent dose
Benefits of knowing the equivalent dose
Dose Limits Recommended by ICRP

## Slide 3
Dose limits help ensure that no person is exposed to an excessive amount of radiation in normal, planned situations. They are the strongest form of restriction on dose to an individual. Exceeding a dose limit is contrary to regulations in most countries .
LECTURE TEN : Dose limits
Equivalent dose is a dose quantity representing the health effects of low levels of ionizing radiation on the human body which represents the probability of radiation-induced cancer and genetic damage. It is dependent on the radiation type and energy. In the SI system of units, the unit of measure is the Sievert (Sv).
Benefits of knowing the equivalent dose

## Slide 4
Limit on Dose from Public Exposure | Limit on Dose from Occupational Exposure | Type of Dose Limit
15 mSv in a year | 20 mSv per year, with no single year exceeding 50 mSv | Equivalent Dose to the Lens of the Eye
Dose Limits Recommended by ICRP
Limit on Dose from Public Exposure | Limit on Dose from Occupational Exposure | Type of Dose Limit
1 mSv in a year. In special circumstances, a higher value could be allowed in a single year, provided that the average over 5 years does not exceed 1 mSv per year | 20 mSv per year with no single year exceeding 50 mSv After a worker declares a pregnancy, the dose to the embryo/fetus should not exceed about 1 mSv during the remainder of the pregnancy | Effective Dose
LECTURE TEN : Dose limits
الجرعة الفعالة
20 ملي سيفرت في السنة
الحوامل يجب ألا تتجاوز جرعة 1 ملي سيفرت
حد الجرعة من التعرض المهني
حد الجرعة من التعرض العام
1 ملي سيفرت في السنة.
في ظروف خاصة ، يمكن السماح بقيمة أعلى في سنة واحدة ، بشرط ألا يتجاوز المتوسط فوق 5 سنوات 1 ملي سيفرت في السنة
الجرعة المكافئة لعدسة العين

## Slide 5
Limit on Dose from Public Exposure | Limit on Dose from Occupational Exposure | Type of Dose Limit
50 mSv in a year | 500 mSv in a year | Equivalent Dose to the Skin Averaged over 1 cm2 of skin regardless of the area exposed
Limit on Dose from Public Exposure | Limit on Dose from Occupational Exposure | Type of Dose Limit
- | 500 mSv in a year | Equivalent Dose to the Hands and Feet
LECTURE TEN : Dose limits

## Slide 6
To achieve protection from ionizing radiation, there are two important things that must be taken into account :-
One : Dose limits
Two : Fundamental principles of justification and optimization.
where, Dose limits alone are not enough to ensure radiation protection. They function in combination with the fundamental principles of justification and optimization. Limits on effective dose, combined with optimization of protection, are designed to avoid a risk of stochastic effects that would be considered intolerable in a planned exposure situation.
LECTURE TEN : Dose limits